# SECTION 503 – CONTROLLED DENSITY FILL (CDF)

503-1  DESCRIPTION

This work shall consist of placement of a controlled density fill which is a mixture of coal fly ash, water, sand, and portland cement that flows like a liquid, sets up like a solid, is self-leveling, and requires no compaction or vibration to achieve maximum density.

503-2  MATERIALS

503-2.1  PORTLAND CEMENT.  Portland cement shall conform to the requirements of ASTM C150, Type 1.  If for any reason cement becomes partially set or contains lumps of caked cement, it shall be rejected.  Cement salvaged from discarded or used bags shall not be used.

    - FLY ASH.  Fly Ash shall conform to ASTM C618, Class C or F.

503-2.3  FINE AGGREGATE (SAND).  Fine aggregate shall conform to the requirements of ASTM C33 except for aggregate gradation.  Any aggregate gradation which produces performance characteristics of the ASTM specified herein will be accepted, except as follows:

| Sieve Size | Percent Passing By Weight |
| --- | --- |
| ¾” | 100 |
| No. 200 (0.075 mm) | 0-12 |

503-2.4  WATER.  Water used in mixing shall be free of oil, salt, acid, alkali, sugar, vegetable matter, or other substances injurious to the finished product.

Dyes and other methods of coloring the backfill material may be incorporated if desired.

503-3  CONSTRUCTION REQUIREMENTS

503-3.1  PROPORTIONS.  The CONTRACTOR shall submit to the ENGINEER a mix design including the proportions and source of material, admixtures, and dry cubic yard batch weights.  The mix shall contain up to 100 pounds of cement and 300 pounds of fly ash per cubic yard, with the remainder of the volume composed of sand, water, and any approved admixtures.

a.  COMPRESSIVE STRENGTHS

CDF shall be designed to achieve a 28-day compressive strength of 80 to 130 psi when tested in accordance with ASTM C39.  There should be no significant strength gain after 28 days.  Test specimens shall be made in accordance with ASTM C31, except that the samples will not be rodded or vibrated and shall be air cured in their molds for the duration of the cure period.  The air content, tested in accordance with ASTM C231, shall fall within the range of 10 percent to 12 percent.

b.  CONSISTENCY

Consistency of the fresh mixture shall be such that the mixture may be placed without segregation.  A desired consistency may be approximated by filling an open-ended 3-inch diameter cylinder, 6 inches high to the top, with the mixture and the cylinder immediately pulled straight up.  The correct consistency of the mixture will produce an approximate 8-inch diameter circular-type spread without segregation.  Adjustments of the proportions of materials should be made to achieve proper solid suspension and flowable characteristics; however, the theoretical yield shall be maintained at 1 cubic yard for the given batch weights.

503-3.2.  PLACEMENT

a.  PLACEMENT.  CDF may be placed by any reasonable means from a mixing unit into the space to be filled.  Agitation is required during transportation and waiting time.  Placement shall be performed in such a manner that structures or pipes are not displaced from their desired final position and intrusion of CDF into undesirable areas is avoided.  The material shall be brought up uniformly to the fill line shown on the plans or as approved by the ENGINEER.  Each placement of CDF shall be as continuous as possible.  If CDF is placed in more than one layer, the base layer shall be free of surface water and loose or foreign material prior to placement of the next layer.

b.  LIMITATIONS OF PLACEMENT.  CDF shall not be placed on frozen ground.  Mixing and placing may begin when the air temperature is at least 35 degrees and rising.  At the time of placement, CDF shall have a temperature of at least 40 degrees.  Mixing and placement shall stop when the air temperature is 40 degrees and falling or when the anticipated air temperature will be 35°F or less in the 24-hour period following proposed placement.

503-3.3  CURING AND PROTECTION

a.  CURING.  The air content of the CDF should be maintained at temperatures above freezing for a minimum of 72 hours.  If the CDF is subject to temperatures below 32 degrees, the material may be rejected by the ENGINEER if damage to the material is observed.

b.  PROTECTION.  The CDF shall not be subject to loads and shall remain undisturbed by construction activities for a period of 48 hours or until a compressive strength of 15 psi is obtained.  The CONTRACTOR shall be responsible for providing evidence to the ENGINEER that the material has reached the desired strength.  Acceptable evidence shall be based upon the CONTRACTOR's testing firm compressive test results.

503-4  MEASUREMENT AND PAYMENT

503-4.1  CONTROLLED DENSITY FILL.  When not incidental to other items, Controlled Density Fill shall be measured by the cubic yard (CY) or other method indicated on the proposal and paid for at the unit price bid complete, in place, and accepted by the ENGINEER.